## Services
TEF-HEALTH
Physical Testing Centers' Services
COUNTRY | PARTNER | FACILITY TYPE |  |  |  | EQUIPMENT / INFRASTRUCTURE | EXPERTISE | CLINICAL APPLICATION(S) |  |  |  |  | MATURITY LEVEL |  |  |  |  | NORMS | SOFTWARE | SERVICE STATUS
Select in list | Give name | Check column(s) If others, add in comments |  |  |  | Describe your equipment or infrastructure | Describe expertise you can provide as a service in addition to the equipment Eg.: - project design - result analysis - programming - cybersecurity - synthetic data generation and qualification, … | Check column(s) If others, add in comments |  |  |  |  | At which project stage(s) your equipment is relevant? |  |  |  |  | List standards you comply with, such as GLP, cybersecurity, ISO 13485, IEC 62366-1, etc. | Describe specific software you can provide with or associated with your equipment | Is your service ready to be delivered or still under development? Do you have a "price list"? If not yet available, expected timeline?
|  | IMAGING | ROBOTICS | OMICS | OTHERS (go to comments) |  |  | INTENSIVE CARE UNIT | BRAIN HEALTH | CANCER | CARDIOLOGY | OTHERS (go to comments) | TECHNICAL DEV. | PRECLINICAL (PHANTOM) | PRECLINICAL (ANIMAL) | CLINICAL EVAL. | CERTIFICATION
FR | STATION H |  | x |  | x | Simulated operating room with audio/video recording | Technical testing of robots (performance, integration, etc) User research & Human Factors Engineering (interview, observation, focus group, user test) for product design and usability testing |  | x | x | x | x | x | x |  |  |  | IEC 62366-1 |  | User reseach (focus group, etc) and testing (formative / summative evaluation) is ready, with a preliminary cost grid Technical testing is expected mid-2024 (recruitment to be done)
DE | Fraunhofer IIS |  |  |  | x | Gait and movement analysis laboratory (IMU suit, camera system, pressure plate, digital movement and strain extrapolation) | project design, software engineering, data generation, data evaluation, hardware evaluation and design, clinical studies, data generation |  |  |  |  | x | x | x |  | x
FR | CEA - Clinatec |  |  | X |  | Mass Spectrometry MALDI-TOF | Project design and data evaluation. Result analysis validation of data analysis software based on AI approaches |  | X | X |  |  |  |  | (X) | X |  |  |  | Ready
DE | FAU |  |  |  | x | Gait and movement analysis lab (IMUs, Cameras, etc.) | result analysis, project design, consulting services for AI development |  |  |  |  | x | x | x |  |  |  |  | gaitmap, TPCP, gaitlink | gaitlink and tpcp are open source offerings and are ready to be used. Gaitlink is currently under development as part of the Mobilise-D project and will be completed and open sourced mid 2024.
FR | CEA - Clinatec |  | X |  | X | GAIT and movement analysis lab: infrared cameras and wireless pressure sensors for gait analysis, entire body motion analysis, definition of a model, motion sequence validation with an exoskeleton | Project design, data acquisition, data analysis, data validation, hardware evaluation, complete clinical evaluation |  | X | X |  |  | X | X |  | X | X |  | VICON system | Ready. To be developed : GAITrite system (Spatio-temporal gait parameter analysis system)
FR | CEA - Clinatec | X |  |  |  | OR room with : - Intraoperative 1,5T MRI (positioned on a rail to go into the operating room during surgery) - neuro navigation robotic system ROSA 6 hospitalisation rooms | Project design, data acquisition, data analysis, programming, data validation, hardware evaluation, complete clinical investigation |  | X | X |  | X | X | X |  | X | X |  |  | Ready
FR | CEA - Clinatec | X |  |  |  | - MEG Elekta Neuromag : 204 gradiometers, 102 magnetometers, 128 EEG channels - EEG : MRI and MEG compatible | Project design, data acquisition, data analysis, programming, data validation, hardware evaluation, complete clinical investigation |  | X |  |  |  | X | X |  | X | X |  | MEG analysis: MatLab/Brainstorm, Field Trip, MNE | Ready. To be acquired in 2024 : OPM-MEG system
DE | Fraunhofer IIS |  |  |  | x | Expo-Box: multimodal physiological Data acquisition stand for developing AI Algorithms for affective sensing, stress, mental load etc. | project design, software engineering, data generation, data evaluation, hardware design, research studies, usability testing |  | x |  |  |  | x | x |  | x
DE | Fraunhofer IIS |  |  |  | x | fully stocked non-invasive diagnostic Kardiology lab (Ultrasonic imaging, ECG monitor, ECG Holter monitor etc.) | project design, software engineering, data evaluation, data evaluation, hardware evaluation and design |  |  |  | x |  | x | x |  | x
DE | Fraunhofer IIS , Universitätsklinikum Würzburg | x |  |  |  | standard MRI Machine with parallel acquisition of multimodal physiological datasets inside the machine (ECG, PPG, Respiration etc.) | project design, clinical studies, data generation, data evaluation |  | x | x | x | x | x | x |  | x
DE | Fraunhofer IIS |  | x |  |  | Testing evironments and humanoid robots for evaluating healthcare automization | project design, software engineering, clinical studies, data generation, data evaluation, usability testing | x |  |  |  | x | x | x |  | x
BE | Multitel |  |  |  | x | Anechoïc chamber and equipements for EMC testing compliant with 60 601 Standard (medical devices) | Testing for product development and pre-certification. Technical support | x | x | x | x | x | x |  |  |  | (x) | IEC 60601 |  | Ready for radiated tests Conducted tests planned for end of 2024
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Consulting - Confidential and Non Disclosure Agreement (CNDA) signature - Listening to SMEs clinical research needs - Analyzing the international/national legal and ethical framework (laws, regulations, and ethical principles in force) - Liaison with Competent Authorities (CA), experts, key-opinion leaders (KOLs) etc. (where needed) - Identifying the necessary cross-discipline professionals (inner partners and external providers or vendors) - Proposing comprehensive and customized solutions to optimize SMEs clinical research proposals | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, Good Clinical Practice (ICH-GCP) - EU regulations: Medical Devices, Artificial Intelligence Act, General Data Protection Regulation (GDPR) - Belgian national laws - Local standard operating procedures (SOPs) | NA | To be upgraded (mid 2024)
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Medical writing - Creation of specific documents templates (where needed) - Provision of essential (study) documents templates - Essential (study) documents completion support - Investigator Site File (ISF) provision | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | Ready to be deployed
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Regulatory affairs - Assisting SMEs in regulatory submissions in compliance with applicable laws and requirements - Providing SMEs with the necessary regulatory documents - Performing regulatory submissions for SMEs - Liaison with regulatory bodies: Ethics Committees (EC), Federal Agency for Medicines and Health Products (FAMHP) | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP, IATA - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | To be upgraded (mid 2024)
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Pre-study activities - Feasibility study - Assembling the required team of cross-discipline professionals ready to assist - Clinical Trial Agreement review and budget negotiation | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | To be upgraded (mid 2024)
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Clinical monitoring Performing all monitoring activities ensuring compliance to the clinical investigation plan and regulatory requirements: - site qualification/selection visit (SQV/SSV) - site initiation visit (SIV) - site monitoring visits (SMV) - site close-out visit (SCV) | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | Ready to be deployed
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Study staff training - Regulatory training - Clinical study training - Local SOPs training | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | Ready to be deployed
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Quality management - Clinical study monitoring - Site audit/inspection (preparation, attendance, follow-up) | X | X | X | X | X |  |  |  | X | X | - International regulations: ISO 14155:2020, ICH-GCP - EU regulations: Medical Devices, Artificial Intelligence Act, GDPR - Belgian national laws - Local SOPs | NA | Ready to be deployed
BE | ISPPC |  |  |  | X | Clinical Research Unit (CRU) | Scientific dissimination/publication (support) - Journals - Meetings - Events | X | X | X | X | X |  |  |  | X | X | Journal/Event/Meeting publication policies | NA | Ready to be deployed
FI | Metropolia UAS | X | X |  | X | "From home to hospital" Simulated hospital, multiple rooms: Home, Ambulance, A&E, Operating theatre, Intensive care unit, Ward, Maternity unit (labour ward), Public health nurse's office, Paediatric ward and Medicines management -practice area. Videoing and monitoring of situations (from the control room) | Pre-clinical testing: Helping with research questions (user, customer experience, etc.) Testing the situation as genuinely as possible (Organising skills to create a genuine situation). Helping with the research design and conducting the research, analysis. User testing. | X | x |  | x | X | X | X |  |  |  |  | Sim station | Ready
FI | Metropolia UAS | X |  |  | X | Movement laboratory equipped with 3D movement analysis system featuring infrared cameras and force plates. Plantar pressure sensors, isokinetic dynamometer, breath gas analyzer, ultrasonic imaging and body composition analyzer. | Result analysis, data validation,project desing, hardware evaluation, AI validation and research ethics consultation |  |  |  |  | X | X | X |  |  |  |  | VICON system, Seca, Medilogic, Contrex, Templo, Cosmed | Ready, in commercial and educational use
IT | Politecnico di Milano/Villa Beretta |  | X |  |  |  | The service will make available a benchmark framework for upper limb capacity. The proposed scheme includes: (1) a taxonomy that identifies and classifies the relevant upper limb motor skills and motor abilities, (2) a selection of outcome measures and performance indicators able to quantify each motor ability, (3) the required sensor networks to extract the outcome measures, and (4) a set of standardized protocols that should be followed to obtain comparable results |  |  |  |  | x | [7 empty] | Ready
FR | CHUGA |  | x |  | x | Simulated operating room with audio/video recording | Technical tests of any medical devices or robots (performance, integration, etc) Usability tests | x | x | x | x | x | x | x |  | x |  | IEC 62366-1 |  | Simulated operating room will be available in January 2025
SE | Karolinska Institutet (CIR) | x |  |  |  | Human MRI imaging: 7T (Siemens MAGNETOM Terra.X) and 3T (GE SIGNA Premier) | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x | x | x | x |  | x | x |  | x | x |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Large animal MRI imaging: 3T (GE SIGNA Premier) | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Small animal MRI imaging: 9.4T Bruker preclinical | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. |  |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Human PET-MRI imaging: 3T GE Healthcare SIGNA PET/MRI | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x | x | x | x |  | x | x | x | x | x |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Large animal PET-MRI imaging: 3T GE Healthcare SIGNA PET/MRI | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Small animal PET-MRI imaging: NanoScan PET/CT + 9.4T Bruker preclinical | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. |  |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Human PET-CT imaging: GE Discovery MI 5 PET/CT | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x | x | x | x |  | x | x | x | x | x |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Large animal PET-CT imaging: GE Discovery MI 5 PET/CT | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Small animal PET-CT imaging: NanoScan PET/CT | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. |  |  | x | x |  | x | x | x |  |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Human MEG imaging: Elekta/MEGIN Triux (306 ch conventional MEG), FieldLine Headscan (128 ch OPM MEG) | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. |  | x |  |  |  | x | x |  | x |  |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x |  |  |  | Human EEG imaging: Elekta/MEGIN Triux (128 ch MEG-compatible EEG) | Expertise on instrumentation performance and imaging protocols/parameters, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. |  | x |  |  |  | x | x |  | x | x |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet (CIR) | x | x |  | x | Experimental surgery facilities. | Expertise on imaging-guided, minimally invasive, endovascular techniques, study design, measurement protocols, full-service measurements, image analysis, academic, clinical and industry applications. | x | x | x | x | x | x | x | x |  | x |  | Ready. Preliminary price list available | The CIR imaging facilities (http://www.kcir.se) are available for academic, clinical and industry users.
SE | Karolinska Institutet/ SciLifeLab |  |  | x |  | Clinical Genomics (CG): DNA & RNA sequencing facility | Provides access to technology, end-to-end support from sample preparation to analysis and associated bioinformatics support |  | x | x | x |  | x | x | x | x |  | ISO 13485 | Ready. Preliminary price list available
SE | Karolinska Institutet/ SciLifeLab |  |  | x |  | Eukaryotic Single Cell Genomics (ESCG): single cell DNA & RNA sequencing facility | Provides access to technology, end-to-end support from sample preparation to analysis and associated bioinformatics support |  | x | x | x |  | x | x | x | x |  |  | Ready. Preliminary price list available
SE | Karolinska Institutet/ SciLifeLab |  |  | x |  | CRISPR Functional Genomics: gene-editing and functional genomic screening using CRISPR-systems facility | Provides access to technology, end-to-end support from sample preparation to analysis and associated bioinformatics support |  | x | x | x |  | x | x | x | x |  |  | Ready. Preliminary price list available
SE | Karolinska Institutet/ SciLifeLab |  |  | x |  | Chemical Biology Consortium Sweden, Karolinska Institutet (CBCS-KI) provides expertise and instrumentation for assay development and screening (BSL-2 and BSL-3) and enabling chemistry support, including medicinal synthetic and computational chemistry | Provides access to technology, end-to-end support from sample preparation to analysis and associated bioinformatics support |  | x | x | x |  | x | x | x | x |  |  | Ready. Preliminary price list available
SE | RISE (Research Institutes of Sweden) |  |  |  |  | Pharmaceutical development regulatory preclinical safety assesment | Preclinical safety assessment studies to support regulatory documentation for clinical trial application | x | x | x | x | x |  |  | x | x |  | GLP |  | Ready, price dependent on type of drug/study
SE | RISE (Research Institutes of Sweden) |  |  |  |  | Pharmaceutical development stability studies | Drug product and drug substance stability studies to support regulatory documentation for clinical trial application | x | x | x | x | x |  |  | x | x |  | GMP |  | Ready, price dependent on type of drug/study
SE | RISE (Research Institutes of Sweden) |  |  |  |  | Pharmaceutical development Clinical manufacture | Manufacture of drug substance and drug product for clinical trial | x | x | x | x | x |  |  | x | x |  | GMP |  | Ready, price dependent on type of drug/study
SK | University Hospital Martin | X | X |  |  | Robotic system DaVinci Xi, Research on robotic surgical treatment of gynecologic malignancies, endometriosis and pelvic floor defects | Project design, result analysis, data validation, hardware/software evaluation |  |  | x |  | x | x |  |  | x |  | Guidelines of the European Society of Gynecologic Oncology |  | Ready
SK | University Hospital Martin | X |  |  | X | Paediatric Sleep laboratory equipped with actigraphy (included EEG, EOG, respiratory), polygraphs, drug induced sleep endoscopy and videopolysomnographic devices with infrared cameras, data analysis and archivation. Hardware: ALICE 6 | Implemantation of AI in the diagnosis of sleep disorders, analysis of PSG records. Project design, result analysis, data validation, hardware/software evaluation |  | x | x | x |  | x | x |  | x | x |  | Sleepware | Ready
SK | University Hospital Martin | X | X |  |  | Processing of MRI, CT images fusion and contrast agents using AI during robotic surgeries. The location is the Center for Robotic Surgery, equipped with the DaVinci Xi robot, complete monitoring equipment. | Project design, result analysis, data validation, hardware/software evaluation |  |  | x | x | x | x | x |  | x |  |  |  | Ready
FR | CHUR | X |  |  |  | Two hybrid rooms for chirurgical & interventional practices | Project design, research & clinical studies |  |  |  | X | X | X | X |  | X | X |  |  | To be deployed in 2024
FR | CHUR | X |  |  |  | Interventional scanner | Project design, research & clinical studies |  | X |  |  |  | X | X |  | X | X |  |  | Ready
FR | CHUR | X |  |  |  | Interventional neuroradiology room with a biplane imaging system | Project design, research & clinical studies |  | X |  |  |  | X | X |  | X | X |  |  | Ready
FR | CHUR | X |  |  |  | NeurInfo platform (3T MRI) | Project design, research & clinical studies |  | X |  |  |  | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Corelab with strong expertise for echocardiography | Project design, research & clinical studies |  |  |  | X |  | X | X |  | X | X |  |  | Ready
FR | CHUR |  | X |  |  | Three telemanipulation systems | Project design, research & clinical studies |  |  |  | X | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  | X |  |  | Robotic system for cochlear implants | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  | X |  | Digital scanners for anatomocytopatholgy | Project design, research & clinical studies |  |  |  | X |  | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Biological resources centers (biobanks) | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  | X |  | Next-generation sequencing system | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  | X |  | Inductively coupled plasma mass spectrometry for metals analysis | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | 3D printing systems by digitalized conception for dental implants | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Immuno-monitoring lab | Project design, research & clinical studies |  |  | X |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Stress test platform | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Telemedicine | Project design, research & clinical studies |  |  |  | X | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Pharmacy connected boxes | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Geriatrics research lab | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Motion analysis platform | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR | X |  |  | X | TheraTech platform | Project design, research, pre- & clinical studies |  | X | X | X | X | X | X | X |  |  |  |  | To be deployed in 2024
FR | CHUR |  |  |  | X | Patient digitized file | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  |  | Laboratory Information Management System | Project design, research & clinical studies |  |  |  |  | X | X | X |  | X | X |  |  | Ready
FR | CHUR |  |  |  | X | Innovation & Research Department | Project formulation: Help, advice for project definition) | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Project feasibility study: Study qualification, identification of needed resources… | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Project specifications: Support for methodology, regulatory, data management, protocol | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Project contract: Agreement on needs (human and material resources), planning, budget, intellectual property… | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Study regulatory authorizations: Personal protection committee (CPP), National agency for the safety of medicines and health products (ANSM), National commission for data protection and liberties / Ethical and scientific committee for research, study and evaluation in health field (CNIL/CESREES), insurance… | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Study setup: Preparation of facilities, documents (statistical plan, CRF)… | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Study follow-up: Coordination, patients’ recruitment, data collection,, regulatory and logistical monitoring, quality control of data… | X | X | X | X | X | X | X |  | X | X | ISO 9001
FR | CHUR |  |  |  | X | Innovation & Research Department | Study closure: Closing of administrative parts and budget, final report, transmission CPP and ANSM, valorization/promotion | X | X | X | X | X | X | X |  | X | X | ISO 9001
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of functional testing of the cardiovascular, nervous and respiratory systems) |  |  |  | x | Finometer (FMS) and Nexfin (Edwards Lifesciences) devices, which are used for non-invasive beat-to-beat blood pressure monitoring using volume-clamp method, ECG Cardiofax 9620M (Nihon Cohden) for monitoring the electrical activity of the heart, RespiTrace (NIMS) for non-invasive respiratory monitoring by impedance method using chest and abdominal belts, CardioScreen 2000 (Medis) for non-invasive monitoring of various parameters associated with pumping function of the heart (systolic volume, systolic time intervals, etc.), VaSera VS-1500N (Fukuda Denshi) characterization of arterial stiffness, EndoPAT 2000 (Itamar Medical) - characterization of endothelial dysfunction, MedGem (Microlife) - determination of basal metabolism, InBody J10 (Biospace) - analysis of body composition, ECG (BTL; Pola V8)- non-invasive continuous bio signals monitoring, Finometer, Finapres medical systems), blood pressure, Flex Comp Infinity, Thought Technology for measuring the electrodermal activity, respiration, peripheral temperature, Neuroptics PLR200, pupilometry, Eyetracking (Pupil Labs) for eye movements, InBody 120 - body composition analysis, Pulsating bubble surfactometer (General Transco) instrument to measure surfactant function in vitro, which imitates the pulmonary alveoli, ventilators – Aura V (Chirana), SLE5000 (SLE), Inspira ASV (Harvard Apparatus) for mechanical ventilation of the lungs, ADInstruments system – LabChart, Spirometer, Bridge Amp, Animal Bio Amp for perioperative monitoring and analysis of vital functions, RAPIDLab TM348EX (Siemens) for measuring blood gases and acid-base balance parameters, veterinary haematology analyser XT-2000i (Sysmex) for complete blood count test | The laboratory performs research and scientific activities in three main fields: research of autonomic nervous system regulation, psychophysiological research and experimental respirology. | x | x |  | x | x |  | x | x | x |  |  |  | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of pharmacokinetics) |  |  | x |  | Triple quadrupole mass spectrometer with liquid chromatograph (Xevo TQ-S with Acquity 2D UHPLC, Waters), triple quadrupole mass spectrometer with gas chromatograph (Scion TQ a 456 GC, Bruker) | Laboratory of pharmacokinetics deals with two main fields of scientific research activities: (i) development of analytical methods and their application to preclinical, or clinical research, (ii) metabolomic analyses of biological samples. |  | x | x | x | x |  | x | x |  |  |  |  | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of microscopic techniques) | x |  |  | x | Zeiss LSM 880 with multiphoton laser, Zeiss Axio imager M.2 with apotome module clinical bioinformatics based on NGS sequencing (MiSeq, HiSeq, NextSeq), Zeiss Axio observer D.1 with inverted lens and DG4 fluorescent source, Zeiss Axio examiner A.1 equipped with a patch clamp micromanipulator, Olympus BX51 | Investigation of pathomechanisms occurring at early stages of neurodegenerative disorders. |  | x |  |  | x |  | x | x |  |  |  |  | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of cell cultures and regenerative medicine) | x |  | x | x | Cell culture laboratory equipment (BSL-2 flow boxes, CO2 incubators, light microscope, cell counter); molecular laboratory equipment (RT-PCR thermocyclers, agarose/SDS-PAGE apparatus and Western blot transfers, Elisa plate reader), cellular analysis (cellular processes analyzer, fluorescent microscopy scanner and microdissection device) | Expertise in vitro cultivation various types of cells (human and animal), molecular analysis, imaging protocols and analysis, study design, full service measurement, academic applications. |  |  | x |  | x | x | x | [5 empty] | Ready, price dependent on type of cel lines/ drug/ typ of analysis
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of proteomics and mitochondriopathies) |  |  | x | x | MALDI-TOF mass spectrometry, ESI-IT mass spectrometry, Oroboros O2k respirometer | Proteinological and proteomic analysis of various Parkinson’s disease model systems and biological materials obtained from patients with Parkinson’s disease, Miyoshi syndrome/myopathy, or MIDD (maternaly inherited diabetes and deafness) – MELAS (Mitochondrial Encephalopathy, Lactic Acidosis, Stroke-like episodes) spectrum syndrome. |  | x |  |  | x |  | x | x |  |  |  |  | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of genomics and prenatal diagnostics) |  |  | x | x | Main instruments: NextSeq 550 Dx (Illumina), SureScan Dx Microarray Scanner (Agilent), PyroMark Q48 Autoprep (Qiagen), SeqStudio 8 Flex (Applied Biosystems), QuantStudio 5 (Applied Biosystems), Q-Tower3 G (Analytik Jena), Bioanalyser 2100 (Agilent), QSep 100 (BiOptic), Biometra Tone (Analytik-jena), Focused ultrasonicator ML230 (Covaris), Qubit 4 fluorometer (Thermo Fisher Scientific), NanoDropTM OneC Microvolume UV-Vis Spectrophotometers (Thermo Scientific) and other | The laboratory provides project design, sample preparation, analysis of the results and data validation in a vide spectrum of molecular biology methods, as entire genome sequencing, RNA sequencing, Sanger sequencing, HRM, RNA/miRNA gene expression by real-time PCR, genotyping, RT-qPCR, methylation specific PCR, MS-MLPA technique and pyrosequencing for detection of methylation of CpG islands, DNA copy number variability (CNV), RNA/miRNA gene expression by microarray and identification of some bacterial/viral pathogens by real-time PCR. |  | x | x |  | x |  | x | x | x |  |  | Qiagen CLC Workbench for NGS analyses, BioConductor librarie and R | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of flow cytometry, cell phenotyping and engineering) |  |  | x |  | Flow cytometer/sorter FACS Aria II c, fluorescence microscope Olympus iX72, light microscope, BSL-2 laminar hoods, cell incubators, and electrophoretic equipment for Western blot | The laboratory develops and prepares unique in vitro models (3D and 2D cancer cell lines) derived from human tumor tissue. |  |  | x |  |  |  | x | x |  |  |  |  | Ready, price dependent on type of drug/study
SK | Jessenius Faculty of Medicine in Martin, Comenius University in Bratislava (Laboratory of metabolomics) | X |  | X | X | Small animal MRI / MRS scanner Bruker BioSpec 70/20 USR 7 T, Bruker Avance III 600 MHz NMR spectrometer, combination of an Agilent liquid chromatograph with a Bruker Q-TOF high-resolution mass spectrometer | Laboratory of Metabolomics provides targeted and non-targeted metabolomics analysis, including non-invasive in vivo, ex vivo and in vitro MR imaging. |  | x | x |  | x |  | x | x |  |  |  | Matlab, COMSOL Multiphysics | Ready, price dependent on type of study.
IGG | MedCompTechLab | x | x | x | X | Laboratory of computational and technological medicine | AI design, development and testing. | x | x | x | x | X | X | X |  |  |  | HL7 | Jupyterhub, CONDA, Python | Under implentation, price dependent on type of study
IGG | Clinical trial center |  |  |  | X | Web platform for trial data collection and storage | Consulting to design and develop multicenter and international clinical trials in pediatrics. Data interpretation and statistical support. | X | X | X | X | X | X |  |  | X |  | Orphanet, Human Phenotype Ontology | Registry | Under implementation, price dependent on type of study
IGG | Physical Medicine and Rehabilitation Unit |  | x |  |  | Living lab | Clinical consulting and testing of robots for rehabilitization |  |  |  |  | x |  |  |  | x |  |  | Robotic rehab, Exergames, telemedicine | Under implementation, price dependent on type of study